## Annex C
RFP# LB-CL-0020-SH, Automated Molecular Analyzer System for the Detection of Bacterial and Viral Enteric Pathogens
ANNEX C - ASSAY SPECIFICATIONS
Proponent name:
Instrument Model:
Is more than 1 model proposed? (Y/N):
TABLE A: ASSAY SPECIFICATIONS
Assay Performance Metric | Health Canada (HC) Approved Assays: Minimum Performance Characteristics |  | Proponents Proposed Assay Performance Characteristics |  |  | HC Approved Assays: Minimum Performance Characteristics |  | Proponents Proposed Assay Performance Characteristics |  |  | HC Approved Assays: Minimum Performance Characteristics |  | Proponents Proposed Assay Performance Characteristics |  |  | HC Approved Assays: Minimum Performance Characteristics |  | Proponents Proposed Assay Performance Characteristics
| Primary Bacterial Enteric Combination Screening Assay |  | Assay Performance Characteristics for Primary Bacterial Enteric Combination Screening Assay |  | Supporting Reference Material | Secondary Bacterial Enteric Combination Screening Assay |  | Assay Performance Characteristics for Secondary Bacterial Enteric Combination Screening Assay |  | Supporting Reference Material | Bacterial screening assay capable of detecting Clostridioides difficile toxin B |  | Assay Performance Characteristics for Bacterial screening assay capable of detecting Clostridioides difficile toxin B |  | Supporting Reference Material | Viral Enteric Combination Screening Assay |  | Assay Performance Characteristics for Viral Enteric Combination Screening Assay |  | Supporting Reference Material
HC approved use: | HC approved for use with enteric specimens (including unpreserved stool and preserved stool in Cary-Blair transport medium) |  |  |  |  | HC approved for use with enteric specimens (including unpreserved stool and preserved stool in Cary-Blair transport medium) |  |  |  |  | HC approved for use with enteric specimens (including unpreserved stool and preserved stool in Cary-Blair transport medium) |  |  |  |  | HC approved for use with unpreserved stool.
Clinical Accuracy: | ≥95% Positive percent agreement (PPA) and ≥98% Negative percent agreement (NPA) for each target. |  |  |  |  | ≥95% Positive percent agreement (PPA) and ≥98% Negative percent agreement (NPA) for each target. |  |  |  |  | ≥95% Positive percent agreement (PPA) and ≥98% Negative percent agreement (NPA) for each target. |  |  |  |  | Norovirus: PPA (95% CI): 93.8% (88.7%, 96.7%), NPA (95% CI): 99.5% (98.9%, 99.7%); Rotavirus: PPA (95% CI): 100% (96.5%, 100%), NPA (95% CI): 99.5% (99.0%, 99.8%);Adenovirus:PPA (95% CI): 100% (88.3%, 100%), NPA (95% CI): 100% (99.7%, 100%; Sapovirus: PPA (95% CI): 87.5% (77.2%, 93.5%), NPA (95% CI): 99.3% (98.7%, 99.6%); Astrovirus: PPA (95% CI): 92.9% (83.0%, 97.2%),NPA (95% CI): 99.8% (99.4%, 99.9%)
Analytical Sensitivity: | Target | Limit of Detection (LOD) | Target | LOD |  | Target | LOD | Target | LOD |  | Target | LOD | Target | LOD |  | Target | LOD | Target | LOD
| Shiga toxin-producing E. coli (STEC) | ≤150,000 CFU/mL stool | Shiga toxin-producing E. coli (STEC) |  |  | Enterotoxigenic E. coli (ETEC) | ≤20,000 CFU/mL stool | Enterotoxigenic E. coli (ETEC) |  |  | Clostridioides difficile toxin B gene (tcdB) | ≤20,000 CFU/mL stool | Clostridioides difficile toxin B gene (tcdB) |  |  | Norovirus GI; Norovirus GII | 6.28E+06cp/mL; 2.49E+05 cp/mL | Norovirus GI; Norovirus GII
| Salmonella enterica | ≤100,000 CFU/mL stool | Salmonella enterica |  |  | Plesiomonas shigelloides | ≤50,000 CFU/mL stool | Plesiomonas shigelloides | [7 empty] | Rotavirus WA; Rotavirus Va70 | 6.46E+03 cp/mL; 1.16E+04 cp/mL | Rotavirus WA; Rotavirus Va70
| Shigella spp. | ≤75,000 CFU/mL stool | Shigella spp. |  |  | Vibrio spp. | ≤30,000 CFU/mL stool | Vibrio spp. | [7 empty] | Adenovirus F40; Adenovirus F41 | 6.89E+04cp/mL; 8.16E+04 cp/mL | Adenovirus F40; Adenovirus F41
| Campylobacter epp. | ≤30,000 CFU/mL stool | Campylobacter epp. |  |  | Yersina enterocolitica | ≤30,000 CFU/mL stool | Yersina enterocolitica | [7 empty] | human Astrovirus Type 4; human Astrovirus Type 8 | 1.75E+07cp/mL; 5.23E+06 cp/mL | human Astrovirus Type 4; human Astrovirus Type 8
[16 empty] | Sapovirus GI; Sapovirus GII | 6.51E+07 cp/mL; 1.94E+06 cp/mL | Sapovirus GI; Sapovirus GII
Analytical Reactivity: | Assay must detect E. coli O157 as well as non-O157 STEC serotypes, Campylobacter coli and C. jejuni, as well as typhoidal and non-typhoidal serovars of Salmonella. |  |  |  |  | Assay must detect Vibrio cholerae. |  |  |  |  | Assay must detect the Clostridioides difficile toxin B gene (tcdB) |  |  |  |  | Must detect Norovirus GI and GII, Rotavirus, Adenovirus F (40/41); human Astrovirus, and Sapovirus.
Analytical Specificity: | Assay must not cross react with viruses, fungi, yeast, parasites, and other bacteria that may be present in stool |  |  |  |  | Assay must not cross react with viruses, fungi, yeast, parasites, and other bacteria that may be present in stool |  |  |  |  | Assay must not cross react with viruses, fungi, yeast, parasites, and other bacteria that may be present in stool |  |  |  |  | Assay must not cross react with bacteria, fungi, yeast, parasites, and other viruses that may be isolated from stool specimens
Reproducibility: | Agreement must be >98% for each target; Coefficient of variation (CV) ≤5% for each target. |  |  |  |  | Agreement must be >98% for each target; Coefficient of variation (CV) ≤5% for each target. |  |  |  |  | Agreement must be >98% for the tcdB target; Coefficient of variation (CV) ≤5% for the tcdB target. |  |  |  |  | Agreement must be >96.7% for each target; Coefficient of variation (CV) ≤5% for each target.
Interfering Substances: | Assay performance must be verified to perform in the presence of potentially interfering endogenous and exogenous substances such as blood, potential medications and over-the-counter products that may be present in a specimen. |  |  |  |  | Assay performance must be verified to perform in the presence of potentially interfering endogenous and exogenous substances such as mucin, blood, potential medications and over-the-counter products that may be present in a specimen. |  |  |  |  | Assay performance must be verified to perform in the presence of potentially interfering endogenous and exogenous substances such as mucin, blood, potential medications and over-the-counter products that may be present in a specimen. |  |  |  |  | Assay performance must be verified to perform in the presence of potentially interfering endogenous and exogenous substances such as mucus, blood, fat, human DNA, and potential medications and over-the-counter products that may be present in a specimen.
Instructions: | 1. The proponent is to fully complete Table A of Annex C - Assay Specifications of this RFP.
2. Do not delete any rows or columns. Additional rows may be added at the bottom of Table A.
3. The proponents proposal must include a completed Annex C - Assay Specifications.
4. Proponent is to identify associated document name and page number in the supporting reference materials field.