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This is a combined synopsis/solicitation for commercial items prepared in accordance with the format in Subpart 12.6, as supplemented with additional information included in this notice. This announcement constitutes the only solicitation; quotes are being requested. The Government reserves the right to make no award from this solicitation.

[bookmark: _Hlk222394413]Solicitation number 36C25027Q0051 is being issued as a Request for Quote (RFQ). The government anticipates awarding a firm-fixed price contract resulting from this solicitation. This solicitation document and incorporated provisions and clauses are those in effect through Federal Acquisition Circular (FAC) 2026-01, effective March 13, 2026.

The associated North American Industry Classification System (NAICS) code for this procurement is 541380 (size standard $19.0 million). 

This requirement is 100% set aside for Small Business (SB).

The Department of Veterans Affairs, Veterans Health Administration, Network Contracting Office (NCO) 10 requires a contractor to provide reverse osmosis systems preventive maintenance services for Ann Arbor VA Medical Center, located in Ann Arbor, Michigan, for a period of one year with four possible option years. Please reference the Statement of Work for specific information and requirements.

The anticipated contract period is January 8, 2027 – January 7, 2032, if all options are exercised. 

Quotes MUST be received on or before the date and time specified in Block 8 of the SF1449 Solicitation. Solicitation posting and closing dates are subject to change as necessary and amendments will be issued accordingly.  

[bookmark: P1133_164420]This solicitation requires registration with the System for Award Management (SAM) at time of offer, pursuant to applicable regulations and guidelines. Registration information is at www.sam.gov.

This is an open-market combined synopsis/solicitation for services as defined herein. The government intends to award a contract as a result of this combined synopsis/solicitation that will include the terms and conditions set forth herein. To facilitate the award process, all quotes must include a statement regarding the terms and conditions herein as follows:

"The terms and conditions in the solicitation are acceptable to be included in the award document without modification, deletion, or addition."

OR

"The terms and conditions in the solicitation are acceptable to be included in the award document with the exception, deletion, or addition of the following:"

Offerors shall list exception(s) and rationale for the exception(s).

Offerors shall only submit quotes electronically, via email, to Jeanne Ortiz, Contracting Officer, at jeanne.ortiz@va.gov. Subject line shall read: 36C25027Q0051 – Offer. 

Any questions for this solicitation shall be sent via email to Jeanne Ortiz, Contracting Officer, at jeanne.ortiz@va.gov. There will be only one question and answer period. The deadline for submitting all questions is Wednesday, October 28, 2026, at 10:00 AM Eastern Time. All questions shall have “36C25027Q0051 - Question” as the subject line. The Government will not respond directly to any questions but will post the answers to this Contract Opportunities posting for all vendors to access.  
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Ann Arbor VA Medical Center
Facilities Management Service
2215 Fuller Road
Ann Arbor, MI 48105
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Department of Veterans Affairs
Network Contracting Office 10
24 Frank Lloyd Wright Drive
Ann Arbor, MI 48105
  
 
  
36C250
Department of Veterans Affairs
Financial Services Center
Invoices to be submitted electronically
https://www.tungsten-network.com
  
877-489-6135
See CONTINUATION Page
Vendor shall provide a firm, fixed-price quote for Reverse
Osmosis Systems Services in accordance with the Statement of
Work and Price Schedule.
Estimated period of performance is 01/08/2027 - 01/07/2028
with four, one-year option periods at Government discretion.
NO SITE VISIT IS BEING OFFERED: all information needed to
perform the required services are included in the Statement
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See CONTINUATION Page
X
X
X
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Jeannie Ortiz
Contracting Officer
)
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[bookmark: _Toc256000002][bookmark: _Toc243474809]SECTION B - CONTINUATION OF SF 1449 BLOCKS
[bookmark: _Toc223441803][bookmark: _Toc243474810]B.1  CONTRACT ADMINISTRATION DATA
    1.  Contract Administration:  All contract administration matters will be handled by the following individuals:
    a.  CONTRACTOR:  	
Organization:
	POC Name:
Email:
Phone:
SAM UEI:
TIN:

    b.  GOVERNMENT:  
Contracting Officer Jeannie Ortiz
Department of Veterans Affairs
Ann Arbor Healthcare System
Network Contracting Office 10
24 Frank Lloyd Wright Drive
Ann Arbor, MI 48105  

  2.  CONTRACTOR REMITTANCE ADDRESS:  All payments by the Government to the contractor will be made in accordance with:
	[X]
	52.232-33, Payment by Electronic Funds Transfer—System For Award Management, or

	[]
	52.232-36, Payment by Third Party


  
  3.  INVOICES:  Invoices shall be submitted in arrears:
       a.  Quarterly	[  ]
       b.  Semi-Annually	[  ]
       c.  Other	[X]  In arrears, per Price Schedule frequency, post COR-acceptance 
                                                of services rendered

  4.  GOVERNMENT INVOICE ADDRESS:  All Invoices from the contractor shall be submitted electronically in accordance with VAAR Clause 852.232-72 Electronic Submission of Payment Requests.

  ACKNOWLEDGMENT OF AMENDMENTS: The offeror acknowledges receipt of amendments to the Solicitation numbered and dated as follows:

	[bookmark: ColumnTitle]AMENDMENT NO
	DATE

	
	

	
	

	
	





[bookmark: _Toc256000004][bookmark: _Toc243474811]B.2 STATEMENT OF WORK
A. [bookmark: _Hlk220590308][bookmark: _Hlk220415367]GENERAL: Contractor shall provide all labor, parts, materials, personnel, transportation and supervision to perform preventive maintenance and non-routine emergency maintenance services of the Reverse Osmosis (RO) Equipment Systems located at the Ann Arbor VA Medical Center (AAVA) located at 2215 Fuller Road, Ann Arbor, MI 48105.  

1. The Reverse Osmosis (RO) Water Equipment Systems are comprised of one set of RO water systems serving Sterile Processing Service (SPS) and one set of RO water systems serving Laboratory Department (Lab).
2. Preventive maintenance services consist of evaluating system components, replacing consumable system components, generating Field Service Reports and recommending corrective actions for deficiencies.
3. Emergency maintenance services consist of making timely and critical repairs to reverse osmosis equipment to ensure uninterrupted operation of the process water.  
 
B. CONFORMANCE STANDARDS: Services provided in this contract shall conform to original equipment manufacturer maintenance and operation instructions, ST108 Standard, AAMI Standard 79, and AAMI TIR 34:2014 recommendations for the water quality necessary for the reprocessing of medical instruments, and all other applicable AAMI Standards. 

C. SCOPE OF WORK: The Preventive Maintenance Service shall consist of quarterly, semi-annual, annual visits to meet scheduled maintenance intervals. Preventive Maintenance shall be performed on the components listed below at the specified intervals and Emergency Services will be performed on an as-needed basis: 

Sterile Processing Service (SPS) – Reverse Osmosis Water Systems Preventive Maintenance Services
1. SPS - Preventive Maintenance – Quarterly:
a. Replace Hot Water Prefilter Housing (Part No.: W2T934190, Quantity: 5)
b. Replace Cold Water Prefilter Housing (Part No.: W2T159682, Quantity: 5)  
c. Replace 20", "Big Blue" Inlet Pre-Filter (Model No.: FCXBF2005, Part No.: W2T150325, Quantity: 1)
d. Deliver 3.6 cu. ft. Mixed Bed Tank and Replace as indicated by monthly evaluations (Part No.: W5TDIMB10360FSP, Quantity: 3) 

2. SPS - Preventive Maintenance – Semi-Annually:
a. Replace 3.6 cu. ft. Carbon Tank (Part No.: W5TDIRAC0360FSP, Quantity: 1)
b. Replace 10", 0.2 Micron Filter (Model No: FCWNF09S2, Part No: W2T177036, Quantity: 1)
c. Replace Ultraviolet Bulb (Model No.: ZCSPL3084, Part No.: W2T472870, Quantity: 2)
d. Replace Ultraviolet Quartz Sleeve (Model No.: ZCSPQ3184, Part No.: W2T164367, Quantity: 2)

3. SPS - Preventive Maintenance – Annually:
a. Replace Reverse Osmosis Membrane Filters (Part No. W2T844451, Quantity: 6)
b. Perform Loop Sanitizing (Part No. W3TSP4707)
c. Replace Filter Cartridges, 20", 0.05um HLLW FBR UF CODE (Part No.: W2T149000, Quantity: 7)
d. Replace Filter, 10", 0.2um, Code F Pleated Vent (Part No.: W2T915015, Quantity: 1)
e. Replace Filter Cap, 0.2UM 1-2 NPT (Part No.: W2T165344, Quantity: 6)

Laboratory Department – Reverse Osmosis Water Systems Preventive Maintenance Services
4. Medica 15, Room E326 (Make: ELGA, Model: Medica 15, Serial No.: ME00015946, ID No: 0013008807) Semi-Annually: 
a. Replace Pre-Treatment Cartridge For Small O (Part No.: W2T167305, Quantity: 1)
b. Replace Filter CTRDG, Deionization DI Twin Pac (Part No.: W2T167306, Quantity: 1)
c. Replace Filter Cap, In Line 0.2um (Part No.: W2T167312, Quantity: 1)
d. Replace Filter, Composite Vent Air 0.2um (Part No.: W2T167303, Quantity: 1)
e. Replace Cart 20” 5um Code F PP String Wound (Part No.: W2T170725, Quantity: 1)
f. Replace Lamp, UV 254 NM for Optn 2/4/5 Medi (Part No.: W2T167317, Quantity: 1)
g. [bookmark: _Hlk57716316]Replace RO Cartridge 7.5 LPH Flow Rate (Part No.: W2T167307, Quantity: 2)
h. Replace Duplex, Pretreatment kit for Small B (Part No.: W3T185358, Quantity: 1)
i. SDI React Carbon .25CF FLAT P – Carbon Tank (Part No. W5TDIRAC0025FFP)

5. Emergency Services:
a. [bookmark: _Hlk57996674]Contractor shall provide the Service POC/COR with emergency telephone numbers to call in the event of an emergency. At least one of the emergency telephone numbers shall be manned twenty-four (24) hours per day, 365 days per year. This information shall be provided in writing to the Service POC/COR.
b. Contractor shall respond to all callbacks and be prepared to take corrective action at the site within 8 hours for all emergency service calls.
c. Callbacks hours are not to take time away from preventive maintenance hours required under this contract. 
d. Equipment malfunctions shall be corrected the same day that the emergency service call was made. If circumstances beyond the Contractor’s control preclude resolution of the problem that day, the Service POC/COR must be notified in writing with an explanation of the delay. 
e. All AAMI required tests shall be performed at the conclusion of emergency work and reported in accordance with Section E. 

D. COVERED EQUIPMENT: The following equipment and/or components shall be covered for emergency service. Contractor staff shall be qualified to service, adjust and maintain: 

1. Sterile Processing Service:
a. W2T164518, HOUSING FLTR INDUSTRIAL 304SS 5 RD - Prefilter Housing Qty 2
b. W5TDIRAC0360FSP, SDI REACT CARBON 3.6CF FBGLS STD PO Qty 1 
c. W3T332697, M41RGP 3 MEMB VERT 460VAC (M41RGPV003D) Qty 1 
d. W5TDIMB10360FSP, SDI MIXBED1 3.6CF FBGLS STD POT Qty 1 
e. W2T813107, TANK,CONE BTM 500GAL PE STD Qty 1 
f. W2T165787, CART 10" 0.2UM CODE F PLTD VNT Qty 1 
g. W2T179895, PUMP MULTI CEN 3PH 460 CRNE5-5, Qty 2 
h. W2T185418, Panel Qty 1 
i. W2T144487, UV UNIT,DISFECT MP2SL 120V/60HZ NO OPTNS; Qty 1 
j. W2T541231, TRANSMITTER,M800 ISM/PULSE 120VAC 4 CH; Qty 1 
k. W2T149000, 7 Round Ultrafilter Housing Qty 1 

2. Lab Services:
a. W3T317159, Kit, Leak Prevent 115 .500” No BRS VLV; Qty 1
b. W2T809169, Valve, PRV .50” .25” NPT F I/O 250 PSI BRZ; Qty 1
c. W2T177833, Medica 15 W/BOOSTER PUMP; Qty 1
d. W2T159477, DV25 MODUL DOCK VSL 25 LIT; Qty 1
e. W2T183873, BRACKET, WALL MOT 25/40L RESERV; Qty 1
f. W2T169124, VALVE, SHUT OFF 0.3125” USH FIT, Qty 7
g. W5TDIRAC0025FFP, Carbon Tank, Qty 1

E. DELIVERABLE REPORTS: Contractor shall deliver legible field service reports immediately at the completion of each visit. Reports shall detail the work performed and include work technician name(s), arrival and departure times, issues found, and any deviations from planned work.

F. REPORTING REQUIREMENTS: 
a. The Contractor is required to schedule an appropriate service date with Facilities Management two weeks in advance of performance. The service dates will be subject to short notice or immediate change based on operational needs of the affected departments. The Service POC/COR will coordinate with Sterile Processing Service to minimize operational impacts and preserve the schedule as best as possible. The Service POC/COR shall have final approval of the day and time for the Preventive Maintenance. 
b. Contractor check-in is mandatory. Contractor staff shall check-in with the Plant Supervisor or designee, located in the Energy Center, Building 32, and sign into the Plant daily logbook with arrival time, name of technician(s) and general nature of the visit. 
c. Scheduled services will be performed during normal business hours, Monday through Friday, 8:30 am to 4:30 pm. The VA reserves the right to request certain services be performed after hours or weekends based on the needs of the facility, at no additional/variable cost. No services shall be scheduled on a federal holiday or any day the President of the United States declares a federal holiday. For a list of federal holidays, please visit: https://www.opm.gov/policy-data-oversight/pay-leave/federal-holidays/ 
d. The Contractor shall document services rendered on a legible field service report and deliver to the Plant Supervisor or designee following the completion of service work. The Contractor shall sign out of the plant daily logbook, with departure time, name of technician(s), and any deviations to the planned work.  Check out is mandatory.

G. SAFETY REQUIREMENTS: Contractor shall take such safety precautions as OSHA may determine to be reasonably necessary to protect the lives and health of occupants of the building. The Service POC/COR shall notify Contractor of any safety issues found and the action necessary to correct them. Such notice, when served on the Contractor or his representative at the work site, shall be sufficient for the corrective actions to be taken. If Contractor fails or refuses to comply promptly, the Contracting Officer may issue an order stopping all or part of the work and hold the Contractor in default.

H. COMPENTENCY OF SERVICE PERSONNEL:  
a. All contractor personnel shall complete “VA Privacy and Information Security Awareness and Rules of Behavior” Training at https://www.tms.va.gov/learning/user/login.jsp. The contractor shall deliver copies of the completion certificates for all contractor personnel to the Service POC/COR. The certificates shall be delivered before or at the time the personnel arrive at the VA facility. Failure to complete the mandatory annual training and sign the Privacy Training annually, within the timeframe required, is grounds for suspension or termination of all physical or electronic access privileges and removal from work on the contract until such time as the training and documents are complete.
b. Contractor must present the Service POC/COR copies of trainings, licenses and/or certifications for each contractor personnel that will be performing the work, within three (3) business days from the date of contract award. 
c. An employee demonstrating the minimum experience level must always be physically present to supervise the task performance of lesser qualified technicians. 
d. The Service POC/COR will have final approval authority related to the technical acceptability of the contractor’s merits.


[bookmark: _Toc256000005][bookmark: _Toc243474812]B.3 PRICE/COST SCHEDULE
[bookmark: _Toc223441807][bookmark: _Toc243474813]ITEM INFORMATION
	ITEM
	DESCRIPTION OF 
BASE YEAR SERVICES
	QUANTITY
	UNIT
	UNIT PRICE
	AMOUNT

	0001
	
	4.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE, QUARTERLY TO SERVICE SPS & LAB RO SYSTEMS 
	

	0002
	
	4.00
	EA
	____________
	____________

	
	CART 10" 0.02UM PLT CDF ABS PS SIL VNT 
LOCAL STOCK NUMBER: W2T915015
	

	0003
	
	4.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 5UM NO SUF PP WND 
LOCAL STOCK NUMBER: W2T150325
	

	0004
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM SW CDF PP 
LOCAL STOCK NUMBER: W2T159682
	

	0005
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM MB CDF ABS PP SIL THERMBD 
LOCAL STOCK NUMBER: W2T934190
	

	0006
	
	4.00
	EA
	____________
	____________

	
	SDI MIXBED1 3.6CF FBGLS STD POT 
LOCAL STOCK NUMBER: W5TDIMB10360FSP
	

	0007
	
	2.00
	EA
	____________
	____________

	
	CART 9.75" 0.2UM CDE F ASYM POLYSUL 
LOCAL STOCK NUMBER: W2T177036
	

	0008
	
	4.00
	EA
	____________
	____________

	
	ULTRAVIOLET QUARTZ SLEEVE 3184 
LOCAL STOCK NUMBER: W2T164367
	

	0009
	
	4.00
	EA
	____________
	____________

	
	UV, LAMP AQUAFINE 17491LM 30 IN LG 
LOCAL STOCK NUMBER: W2T472870
	

	0010
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON 3.6CF FBGLS STD PO 
LOCAL STOCK NUMBER: W5TDIRAC0360FSP
	

	0011
	
	7.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 0.05UM HLLW FBR UF CODE 
LOCAL STOCK NUMBER: W2T149000
	

	0012
	
	6.00
	EA
	____________
	____________

	
	FILTER, METTLER TOLEDO INL REPL HI CAP; 
LOCAL STOCK NUMBER: W2T368636
	

	0013
	
	6.00
	EA
	____________
	____________

	
	MEMBRANE RO HYDRANAUTICS ESPA4-LD-4040 
LOCAL STOCK NUMBER: W2T844451
	

	0014
	
	1.00
	EA
	____________
	____________

	
	PERFORM DIST LOOP SANIT MAINT PER PMI 
LOCAL STOCK NUMBER: W3TSP4707
	

	0015
	
	2.00
	EA
	____________
	____________

	
	SANITIZER, NIL-8 1.5 GAL 
LOCAL STOCK NUMBER: W2T936744
	

	0016
	
	2.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE 
LOCAL STOCK NUMBER: W3TSP5225
	

	0017
	
	2.00
	EA
	____________
	____________

	
	FILTER, COMPOSITE VENT AIR 0.2UM; 
LOCAL STOCK NUMBER: W2T167303
	

	0018
	
	2.00
	EA
	____________
	____________

	
	PRE-TREATMENT CARTRIDGE FOR SMALL O 
LOCAL STOCK NUMBER: W2T167305
	

	0019
	
	2.00
	EA
	____________
	____________

	
	FILTER CTRDG, DEIONIZATION DI TWIN PAC; 
LOCAL STOCK NUMBER: W2T167306
	

	0020
	
	4.00
	EA
	____________
	____________

	
	RO CARTRIDGE (7.5 LPH FLOW RATE) 
LOCAL STOCK NUMBER: W2T167307
	

	0021
	
	2.00
	EA
	____________
	____________

	
	FILTER CAP, IN LINE 0.2UM 
LOCAL STOCK NUMBER: W2T167312
	

	0022
	
	2.00
	EA
	____________
	____________

	
	LAMP, UV 254 NM FOR OPTN 2/4/5 MEDI 
LOCAL STOCK NUMBER: W2T167317
	

	0023
	
	2.00
	EA
	____________
	____________

	
	CART 20" 5UM CODE F PP STRING WOUND 
LOCAL STOCK NUMBER: W2T170725
	

	0024
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON .25CF FBGLS FLAT P 
LOCAL STOCK NUMBER: W5TDIRAC0025FFP
	

	
	
	
	
	TOTAL
	____________



	ITEM
	DESCRIPTION OF 
OPTION YEAR 1 SERVICES
	QUANTITY
	UNIT
	UNIT PRICE
	AMOUNT

	1001
	
	4.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE, QUARTERLY TO SERVICE SPS & LAB RO SYSTEMS 
	

	1002
	
	4.00
	EA
	____________
	____________

	
	CART 10" 0.02UM PLT CDF ABS PS SIL VNT 
LOCAL STOCK NUMBER: W2T915015
	

	1003
	
	4.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 5UM NO SUF PP WND 
LOCAL STOCK NUMBER: W2T150325
	

	1004
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM SW CDF PP 
LOCAL STOCK NUMBER: W2T159682
	

	1005
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM MB CDF ABS PP SIL THERMBD 
LOCAL STOCK NUMBER: W2T934190
	

	1006
	
	4.00
	EA
	____________
	____________

	
	SDI MIXBED1 3.6CF FBGLS STD POT 
LOCAL STOCK NUMBER: W5TDIMB10360FSP
	

	1007
	
	2.00
	EA
	____________
	____________

	
	CART 9.75" 0.2UM CDE F ASYM POLYSUL 
LOCAL STOCK NUMBER: W2T177036
	

	1008
	
	4.00
	EA
	____________
	____________

	
	ULTRAVIOLET QUARTZ SLEEVE 3184 
LOCAL STOCK NUMBER: W2T164367
	

	1009
	
	4.00
	EA
	____________
	____________

	
	UV, LAMP AQUAFINE 17491LM 30 IN LG 
LOCAL STOCK NUMBER: W2T472870
	

	1010
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON 3.6CF FBGLS STD PO 
LOCAL STOCK NUMBER: W5TDIRAC0360FSP
	

	1011
	
	7.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 0.05UM HLLW FBR UF CODE 
LOCAL STOCK NUMBER: W2T149000
	

	1012
	
	6.00
	EA
	____________
	____________

	
	FILTER, METTLER TOLEDO INL REPL HI CAP; 
LOCAL STOCK NUMBER: W2T368636
	

	1013
	
	6.00
	EA
	____________
	____________

	
	MEMBRANE RO HYDRANAUTICS ESPA4-LD-4040 
LOCAL STOCK NUMBER: W2T844451
	

	1014
	
	1.00
	EA
	____________
	____________

	
	PERFORM DIST LOOP SANIT MAINT PER PMI 
LOCAL STOCK NUMBER: W3TSP4707
	

	1015
	
	2.00
	EA
	____________
	____________

	
	SANITIZER, NIL-8 1.5 GAL 
LOCAL STOCK NUMBER: W2T936744
	

	1016
	
	2.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE 
LOCAL STOCK NUMBER: W3TSP5225
	

	1017
	
	2.00
	EA
	____________
	____________

	
	FILTER, COMPOSITE VENT AIR 0.2UM; 
LOCAL STOCK NUMBER: W2T167303
	

	1018
	
	2.00
	EA
	____________
	____________

	
	PRE-TREATMENT CARTRIDGE FOR SMALL O 
LOCAL STOCK NUMBER: W2T167305
	

	1019
	
	2.00
	EA
	____________
	____________

	
	FILTER CTRDG, DEIONIZATION DI TWIN PAC; 
LOCAL STOCK NUMBER: W2T167306
	

	1020
	
	4.00
	EA
	____________
	____________

	
	RO CARTRIDGE (7.5 LPH FLOW RATE) 
LOCAL STOCK NUMBER: W2T167307
	

	1021
	
	2.00
	EA
	____________
	____________

	
	FILTER CAP, IN LINE 0.2UM 
LOCAL STOCK NUMBER: W2T167312
	

	1022
	
	2.00
	EA
	____________
	____________

	
	LAMP, UV 254 NM FOR OPTN 2/4/5 MEDI 
LOCAL STOCK NUMBER: W2T167317
	

	1023
	
	2.00
	EA
	____________
	____________

	
	CART 20" 5UM CODE F PP STRING WOUND 
LOCAL STOCK NUMBER: W2T170725
	

	1024
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON .25CF FBGLS FLAT P 
LOCAL STOCK NUMBER: W5TDIRAC0025FFP
	

	
	
	
	
	TOTAL
	____________



	ITEM
	DESCRIPTION OF 
OPTION YEAR 2 SERVICES
	QUANTITY
	UNIT
	UNIT PRICE
	AMOUNT

	2001
	
	4.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE, QUARTERLY TO SERVICE SPS & LAB RO SYSTEMS 
	

	2002
	
	4.00
	EA
	____________
	____________

	
	CART 10" 0.02UM PLT CDF ABS PS SIL VNT 
LOCAL STOCK NUMBER: W2T915015
	

	2003
	
	4.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 5UM NO SUF PP WND 
LOCAL STOCK NUMBER: W2T150325
	

	2004
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM SW CDF PP 
LOCAL STOCK NUMBER: W2T159682
	

	2005
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM MB CDF ABS PP SIL THERMBD 
LOCAL STOCK NUMBER: W2T934190
	

	2006
	
	4.00
	EA
	____________
	____________

	
	SDI MIXBED1 3.6CF FBGLS STD POT 
LOCAL STOCK NUMBER: W5TDIMB10360FSP
	

	2007
	
	2.00
	EA
	____________
	____________

	
	CART 9.75" 0.2UM CDE F ASYM POLYSUL 
LOCAL STOCK NUMBER: W2T177036
	

	2008
	
	4.00
	EA
	____________
	____________

	
	ULTRAVIOLET QUARTZ SLEEVE 3184 
LOCAL STOCK NUMBER: W2T164367
	

	2009
	
	4.00
	EA
	____________
	____________

	
	UV, LAMP AQUAFINE 17491LM 30 IN LG 
LOCAL STOCK NUMBER: W2T472870
	

	2010
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON 3.6CF FBGLS STD PO 
LOCAL STOCK NUMBER: W5TDIRAC0360FSP
	

	2011
	
	7.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 0.05UM HLLW FBR UF CODE 
LOCAL STOCK NUMBER: W2T149000
	

	2012
	
	6.00
	EA
	____________
	____________

	
	FILTER, METTLER TOLEDO INL REPL HI CAP; 
LOCAL STOCK NUMBER: W2T368636
	

	2013
	
	6.00
	EA
	____________
	____________

	
	MEMBRANE RO HYDRANAUTICS ESPA4-LD-4040 
LOCAL STOCK NUMBER: W2T844451
	

	2014
	
	1.00
	EA
	____________
	____________

	
	PERFORM DIST LOOP SANIT MAINT PER PMI 
LOCAL STOCK NUMBER: W3TSP4707
	

	2015
	
	2.00
	EA
	____________
	____________

	
	SANITIZER, NIL-8 1.5 GAL 
LOCAL STOCK NUMBER: W2T936744
	

	2016
	
	2.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE 
LOCAL STOCK NUMBER: W3TSP5225
	

	2017
	
	2.00
	EA
	____________
	____________

	
	FILTER, COMPOSITE VENT AIR 0.2UM; 
LOCAL STOCK NUMBER: W2T167303
	

	2018
	
	2.00
	EA
	____________
	____________

	
	PRE-TREATMENT CARTRIDGE FOR SMALL O 
LOCAL STOCK NUMBER: W2T167305
	

	2019
	
	2.00
	EA
	____________
	____________

	
	FILTER CTRDG, DEIONIZATION DI TWIN PAC; 
LOCAL STOCK NUMBER: W2T167306
	

	2020
	
	4.00
	EA
	____________
	____________

	
	RO CARTRIDGE (7.5 LPH FLOW RATE) 
LOCAL STOCK NUMBER: W2T167307
	

	2021
	
	2.00
	EA
	____________
	____________

	
	FILTER CAP, IN LINE 0.2UM 
LOCAL STOCK NUMBER: W2T167312
	

	2022
	
	2.00
	EA
	____________
	____________

	
	LAMP, UV 254 NM FOR OPTN 2/4/5 MEDI 
LOCAL STOCK NUMBER: W2T167317
	

	2023
	
	2.00
	EA
	____________
	____________

	
	CART 20" 5UM CODE F PP STRING WOUND 
LOCAL STOCK NUMBER: W2T170725
	

	2024
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON .25CF FBGLS FLAT P 
LOCAL STOCK NUMBER: W5TDIRAC0025FFP
	

	
	
	
	
	TOTAL
	____________




	ITEM
	DESCRIPTION OF 
OPTION YEAR 3 SERVICES
	QUANTITY
	UNIT
	UNIT PRICE
	AMOUNT

	3001
	
	4.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE, QUARTERLY TO SERVICE SPS & LAB RO SYSTEMS 
	

	3002
	
	4.00
	EA
	____________
	____________

	
	CART 10" 0.02UM PLT CDF ABS PS SIL VNT 
LOCAL STOCK NUMBER: W2T915015
	

	3003
	
	4.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 5UM NO SUF PP WND 
LOCAL STOCK NUMBER: W2T150325
	

	3004
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM SW CDF PP 
LOCAL STOCK NUMBER: W2T159682
	

	3005
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM MB CDF ABS PP SIL THERMBD 
LOCAL STOCK NUMBER: W2T934190
	

	3006
	
	4.00
	EA
	____________
	____________

	
	SDI MIXBED1 3.6CF FBGLS STD POT 
LOCAL STOCK NUMBER: W5TDIMB10360FSP
	

	3007
	
	2.00
	EA
	____________
	____________

	
	CART 9.75" 0.2UM CDE F ASYM POLYSUL 
LOCAL STOCK NUMBER: W2T177036
	

	3008
	
	4.00
	EA
	____________
	____________

	
	ULTRAVIOLET QUARTZ SLEEVE 3184 
LOCAL STOCK NUMBER: W2T164367
	

	3009
	
	4.00
	EA
	____________
	____________

	
	UV,LAMP AQUAFINE 17491LM 30 IN LG 
LOCAL STOCK NUMBER: W2T472870
	

	3010
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON 3.6CF FBGLS STD PO 
LOCAL STOCK NUMBER: W5TDIRAC0360FSP
	

	3011
	
	7.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 0.05UM HLLW FBR UF CODE 
LOCAL STOCK NUMBER: W2T149000
	

	3012
	
	6.00
	EA
	____________
	____________

	
	FILTER, METTLER TOLEDO INL REPL HI CAP; 
LOCAL STOCK NUMBER: W2T368636
	

	3013
	
	6.00
	EA
	____________
	____________

	
	MEMBRANE RO HYDRANAUTICS ESPA4-LD-4040 
LOCAL STOCK NUMBER: W2T844451
	

	3014
	
	1.00
	EA
	____________
	____________

	
	PERFORM DIST LOOP SANIT MAINT PER PMI 
LOCAL STOCK NUMBER: W3TSP4707
	

	3015
	
	2.00
	EA
	____________
	____________

	
	SANITIZER, NIL-8 1.5 GAL 
LOCAL STOCK NUMBER: W2T936744
	

	3016
	
	2.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE 
LOCAL STOCK NUMBER: W3TSP5225
	

	3017
	
	2.00
	EA
	____________
	____________

	
	FILTER,COMPOSITE VENT AIR 0.2UM; 
LOCAL STOCK NUMBER: W2T167303
	

	3018
	
	2.00
	EA
	____________
	____________

	
	PRE-TREATMENT CARTRIDGE FOR SMALL O 
LOCAL STOCK NUMBER: W2T167305
	

	3019
	
	2.00
	EA
	____________
	____________

	
	FILTER CTRDG, DEIONIZATION DI TWIN PAC; 
LOCAL STOCK NUMBER: W2T167306
	

	3020
	
	4.00
	EA
	____________
	____________

	
	RO CARTRIDGE (7.5 LPH FLOW RATE) 
LOCAL STOCK NUMBER: W2T167307
	

	3021
	
	2.00
	EA
	____________
	____________

	
	FILTER CAP,IN LINE 0.2UM 
LOCAL STOCK NUMBER: W2T167312
	

	3022
	
	2.00
	EA
	____________
	____________

	
	LAMP, UV 254 NM FOR OPTN 2/4/5 MEDI 
LOCAL STOCK NUMBER: W2T167317
	

	3023
	
	2.00
	EA
	____________
	____________

	
	CART 20" 5UM CODE F PP STRING WOUND 
LOCAL STOCK NUMBER: W2T170725
	

	3024
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON .25CF FBGLS FLAT P 
LOCAL STOCK NUMBER: W5TDIRAC0025FFP
	

	
	
	
	
	TOTAL
	____________



	ITEM
	DESCRIPTION OF 
OPTION YEAR 4 SERVICES
	QUANTITY
	UNIT
	UNIT PRICE
	AMOUNT

	4001
	
	4.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE, QUARTERLY TO SERVICE SPS & LAB RO SYSTEMS 
	

	4002
	
	4.00
	EA
	____________
	____________

	
	CART 10" 0.02UM PLT CDF ABS PS SIL VNT 
LOCAL STOCK NUMBER: W2T915015
	

	4003
	
	4.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 5UM NO SUF PP WND 
LOCAL STOCK NUMBER: W2T150325
	

	4004
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM SW CDF PP 
LOCAL STOCK NUMBER: W2T159682
	

	4005
	
	20.00
	EA
	____________
	____________

	
	CART 30" 5UM MB CDF ABS PP SIL THERMBD 
LOCAL STOCK NUMBER: W2T934190
	

	4006
	
	4.00
	EA
	____________
	____________

	
	SDI MIXBED1 3.6CF FBGLS STD POT 
LOCAL STOCK NUMBER: W5TDIMB10360FSP
	

	4007
	
	2.00
	EA
	____________
	____________

	
	CART 9.75" 0.2UM CDE F ASYM POLYSUL 
LOCAL STOCK NUMBER: W2T177036
	

	4008
	
	4.00
	EA
	____________
	____________

	
	ULTRAVIOLET QUARTZ SLEEVE 3184 
LOCAL STOCK NUMBER: W2T164367
	

	4009
	
	4.00
	EA
	____________
	____________

	
	UV,LAMP AQUAFINE 17491LM 30 IN LG 
LOCAL STOCK NUMBER: W2T472870
	

	4010
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON 3.6CF FBGLS STD PO 
LOCAL STOCK NUMBER: W5TDIRAC0360FSP
	

	4011
	
	7.00
	EA
	____________
	____________

	
	FILTER CTRDG,20" 0.05UM HLLW FBR UF CODE 
LOCAL STOCK NUMBER: W2T149000
	

	4012
	
	6.00
	EA
	____________
	____________

	
	FILTER, METTLER TOLEDO INL REPL HI CAP; 
LOCAL STOCK NUMBER: W2T368636
	

	4013
	
	6.00
	EA
	____________
	____________

	
	MEMBRANE RO HYDRANAUTICS ESPA4-LD-4040 
LOCAL STOCK NUMBER: W2T844451
	

	4014
	
	1.00
	EA
	____________
	____________

	
	PERFORM DIST LOOP SANIT MAINT PER PMI 
LOCAL STOCK NUMBER: W3TSP4707
	

	4015
	
	2.00
	EA
	____________
	____________

	
	SANITIZER, NIL-8 1.5 GAL 
LOCAL STOCK NUMBER: W2T936744
	

	4016
	
	2.00
	EA
	____________
	____________

	
	PREVENTATIVE MAINTENANCE 
LOCAL STOCK NUMBER: W3TSP5225
	

	4017
	
	2.00
	EA
	____________
	____________

	
	FILTER,COMPOSITE VENT AIR 0.2UM; 
LOCAL STOCK NUMBER: W2T167303
	

	4018
	
	2.00
	EA
	____________
	____________

	
	PRE-TREATMENT CARTRIDGE FOR SMALL O 
LOCAL STOCK NUMBER: W2T167305
	

	4019
	
	2.00
	EA
	____________
	____________

	
	FILTER CTRDG, DEIONIZATION DI TWIN PAC; 
LOCAL STOCK NUMBER: W2T167306
	

	4020
	
	4.00
	EA
	____________
	____________

	
	RO CARTRIDGE (7.5 LPH FLOW RATE) 
LOCAL STOCK NUMBER: W2T167307
	

	4021
	
	2.00
	EA
	____________
	____________

	
	FILTER CAP,IN LINE 0.2UM 
LOCAL STOCK NUMBER: W2T167312
	

	4022
	
	2.00
	EA
	____________
	____________

	
	LAMP, UV 254 NM FOR OPTN 2/4/5 MEDI 
LOCAL STOCK NUMBER: W2T167317
	

	4023
	
	2.00
	EA
	____________
	____________

	
	CART 20" 5UM CODE F PP STRING WOUND 
LOCAL STOCK NUMBER: W2T170725
	

	4024
	
	2.00
	EA
	____________
	____________

	
	SDI REACT CARBON .25CF FBGLS FLAT P 
LOCAL STOCK NUMBER: W5TDIRAC0025FFP
	

	
	
	
	
	TOTAL
	____________



	BASE & FOUR OPTION YEAR GRAND TOTAL: $ _______________
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[bookmark: _Toc256000007][bookmark: _Toc243474814]SECTION C - CONTRACT CLAUSES

ADDENDUM to FAR 52.212-4 CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES
  Clauses that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.
  The following clauses are incorporated into 52.212-4 as an addendum to this contract:

[bookmark: _Toc256000008][bookmark: _Toc243474815]C.1  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)
  This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):
  https://www.acquisition.gov/browse/index/far
  https://www.va.gov/oal/library/vaar/
  
	FAR
	Title
	Date

	52.203-17
	CONTRACTOR EMPLOYEE WHISTLEBLOWER RIGHTS
	NOV 2023

	52.203-19
	PROHIBITION ON REQUIRING CERTAIN INTERNAL CONFIDENTIALITY AGREEMENTS OR STATEMENTS
	JAN 2017

	52.204-13
	SYSTEM FOR AWARD MANAGEMENT—MAINTENANCE (DEVIATION)
	NOV 2025

	52.209-10
	PROHIBITION ON CONTRACTING WITH INVERTED DOMESTIC CORPORATIONS
	NOV 2015

	52.219-4
	NOTICE OF PRICE EVALUATION PREFERENCE FOR HUBZONE SMALL BUSINESS CONCERNS (DEVIATION)
	NOV 2025

	52.222-3
	CONVICT LABOR (DEVIATION)
	NOV 2025

	52.222-36
	EQUAL OPPORTUNITY FOR WORKERS WITH DISABILITIES (DEVIATION)
	NOV 2025

	52.222-41
	SERVICE CONTRACT LABOR STANDARDS (DEVIATION)
	NOV 2025

	52.222-50
	COMBATING TRAFFICKING IN PERSONS (DEVIATION)
	NOV 2025

	52.222-51
	EXEMPTION FROM APPLICATION OF THE SERVICE CONTRACT LABOR STANDARDS TO CONTRACTS FOR MAINTENANCE, CALIBRATION, OR REPAIR OF CERTAIN EQUIPMENT —REQUIREMENTS (DEVIATION)
	NOV 2025

	52.222-55
	MINIMUM WAGES FOR CONTRACTOR WORKERS UNDER EXECUTIVE ORDER 14026 (DEVIATION)
	NOV 2025

	52.222-62
	PAID SICK LEAVE UNDER EXECUTIVE ORDER 13706 (DEVIATION)
	NOV 2025

	52.223-23
	SUSTAINABLE PRODUCTS (DEVIATION)
	NOV 2025

	52.226-8
	ENCOURAGING CONTRACTOR POLICIES TO BAN TEXT MESSAGING WHILE DRIVING
	MAY 2024

	52.232-33
	 PAYMENT BY ELECTRONIC FUNDS TRANSFER—SYSTEM FOR AWARD MANAGEMENT
	OCT 2018

	52.232-40
	PROVIDING ACCELERATED PAYMENTS TO SMALL BUSINESS SUBCONTRACTORS
	MAR 2023

	52.233-3
	PROTEST AFTER AWARD
	AUG 1996

	52.233-4
	APPLICABLE LAW FOR BREACH OF CONTRACT CLAIM
	OCT 2004

	852.201-70
	CONTRACTING OFFICER'S REPRESENTATIVE
	DEC 2022

	852.203-70
	COMMERCIAL ADVERTISING
	MAY 2018

	852.212-71
	GRAY MARKET AND COUNTERFEIT ITEMS
	FEB 2023

	852.215-70
	SERVICE-DISABLED VETERAN-OWNED AND VETERAN-OWNED SMALL BUSINESS EVALUATION FACTORS (DEVIATION)
	JAN 2023

	852.215-71
	EVALUATION FACTOR COMMITMENTS
	OCT 2019

	852.232-72
	ELECTRONIC SUBMISSION OF PAYMENT REQUESTS
	NOV 2018

	852.242-71
	ADMINISTRATIVE CONTRACTING OFFICER
	OCT 2020


(End of Clause)
[bookmark: _Toc256000009][bookmark: _Toc243474816]C.2  52.212-4  CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION)
  (a) Definitions. The clause at Federal Acquisition Regulation (FAR) 52.202-1, Definitions, is incorporated by reference.
  (b) Inspection/Acceptance. The Contractor shall only tender for acceptance those items that conform to the requirements of this contract. The Government reserves the right to inspect or test any supplies or services that have been tendered for acceptance. The Government may require repair or replacement of nonconforming supplies or reperformance of nonconforming services at no increase in contract price. If repair/replacement or reperformance will not correct the defects or is not possible, the Government may seek an equitable price reduction or adequate consideration for acceptance of nonconforming supplies or services.  The Government must exercise its post acceptance rights—
    (1) Within a reasonable time after the defect was discovered or should have been discovered; and
    (2) Before any substantial change occurs in the condition of the item, unless the change is due to the defect in the item.
  (c) Assignment. The Contractor or its assignee may assign its rights to receive payment due as a result of performance of this contract to a bank, trust company, or other financing institution, including any Federal lending agency in accordance with the Assignment of Claims Act (31 U.S.C. 3727). However, when a third party makes payment (e.g., use of the Governmentwide commercial purchase card), the Contractor may not assign its rights to receive payment under this contract.
  (d) Changes. Changes in the terms and conditions of this contract may be made only by written agreement of the parties.
  (e) Disputes. This contract is subject to 41 U.S.C. chapter 71, Contract Disputes. Failure of the parties to this contract to reach agreement on any request for equitable adjustment, claim, appeal or action arising under or relating to this contract shall be a dispute to be resolved in accordance with the clause FAR 52.233-1, Disputes, which is incorporated in this contract by reference. The Contractor shall proceed diligently with performance of this contract, pending final resolution of any dispute arising under the contract.
  (f) Excusable delays. The Contractor shall be liable for default unless nonperformance is caused by an occurrence beyond the reasonable control of the Contractor and without its fault or negligence. Examples of occurrences include acts of God or the public enemy, acts of the Government in either its sovereign or contractual capacity, fires, floods, epidemics, quarantine restrictions, strikes, unusually severe weather, and delays of common carriers. When an excusable delay occurs, the Contractor shall—
    (1) Notify the Contracting Officer in writing as soon as possible;
    (2) Remedy the delay as quickly as possible; and
    (3) Notify the Contracting Officer when the occurrence is over.
  (g) Invoice. The Government will handle invoices according to the Prompt Payment Act (31 U.S.C. 3903) and 5 CFR part 1315. The Contractor shall submit invoices to the address designated in the contract to receive invoices. An invoice must include the information required by 5 CFR part 1315.9(b).
  (h) Patent indemnity. The Contractor shall indemnify the Government and its officers, employees, and agents against liability, including costs, for actual or alleged direct or contributory infringement of, or inducement to infringe, any United States or foreign patent, trademark, or copyright, arising out of the performance of this contract, provided the Contractor is reasonably notified of such claims and proceedings.
  (i) Payment—
    (1) Items accepted. Payment shall be made for items accepted by the Government that have been delivered to the delivery destinations set forth in this contract.
    (2) Prompt payment. The Government will make payment in accordance with the Prompt Payment Act (31 U.S.C. 3903) and prompt payment regulations at 5 CFR part 1315.
    (3) Discount. In connection with any discount offered for early payment, time shall be computed from the date of the invoice. For the purpose of computing the discount earned, payment shall be considered to have been made on the date that appears on the payment check or the specified payment date if an electronic funds transfer payment is made.
    (4) Overpayments. If the Contractor becomes aware of a duplicate contract financing or invoice payment or that the Government has otherwise overpaid on a contract financing or invoice payment, the Contractor shall—
      (i) Remit the overpayment amount to the payment office cited in the contract along with a description of the overpayment including the—
        (A) Circumstances of the overpayment (e.g., duplicate payment, erroneous payment, liquidation errors, date(s) of overpayment);
        (B) Affected contract number and delivery order number, if applicable;
        (C) Affected line item or subline item, if applicable;
        (D) Contractor point of contact; and
      (ii) Provide a copy of the remittance and supporting documentation to the Contracting Officer.
    (5) Interest.
      (i) All amounts that become payable by the Contractor to the Government under this contract shall bear simple interest from the date due until paid unless paid within 30 days of becoming due. The interest rate shall be the interest rate established by the Secretary of the Treasury as provided in 41 U.S.C. 7109, which is applicable to the period in which the amount becomes due, as provided in (i)(6)(v) of this clause, and then at the rate applicable for each six-month period as fixed by the Secretary until the amount is paid.
      (ii) The Government may issue a demand for payment to the Contractor upon finding a debt is due under the contract.
      (iii) Final decisions. The Contracting Officer will issue a final decision as required by FAR part 33 if—
        (A) The Contracting Officer and the Contractor are unable to reach agreement on the existence or amount of a debt within 30 days;
        (B) The Contractor fails to liquidate a debt previously demanded by the Contracting Officer within the timeline specified in the demand for payment unless the amounts were not repaid because the Contractor has requested an installment payment agreement; or
        (C) The Contractor requests a deferment of collection on a debt previously demanded by the Contracting Officer (see FAR part 32).
      (iv) If a demand for payment was previously issued for the debt, the demand for payment included in the final decision shall identify the same due date as the original demand for payment.
      (v) Amounts shall be due at the earliest of the following dates:
        (A) The date fixed under this contract.
        (B) The date of the first written demand for payment, including any demand for payment resulting from a termination for cause.
      (vi) The interest charge shall be computed for the actual number of calendar days involved beginning on the due date and ending on-
        (A) The date on which the designated office receives payment from the Contractor;
        (B) The date of issuance of a Government check to the Contractor from which an amount otherwise payable has been withheld as a credit against the contract debt; or
        (C) The date on which an amount withheld and applied to the contract debt would otherwise have become payable to the Contractor.
      (vii) The interest charge made under this clause may be reduced under the procedures for interest credits prescribed in FAR part 32 in effect on the date of this contract.
  (j) Risk of loss. Unless the contract specifically provides otherwise, risk of loss or damage to the supplies provided under this contract shall remain with the Contractor until, and shall pass to the Government upon—
    (1) Delivery of the supplies to a carrier, if transportation is f.o.b. origin; or
    (2) Delivery of the supplies to the Government at the destination specified in the contract, if transportation is f.o.b. destination.
  (k) Taxes. The contract price includes all applicable Federal, State, and local taxes and duties.
  (l) Termination for the Government's convenience. The Government reserves the right to terminate this contract, or any part hereof, for its sole convenience. In the event of such termination, the Contractor shall immediately stop all work and shall immediately cause any and all of its suppliers and subcontractors to cease work. Subject to the terms of this contract, the Contractor shall be paid a percentage of the contract price reflecting the percentage of the work performed prior to the notice of termination, plus reasonable charges the Contractor can demonstrate to the satisfaction of the Government using its standard record keeping system, have resulted from the termination. The Contractor shall not be required to comply with the cost accounting standards or contract cost principles for this purpose. This paragraph does not give the Government any right to audit the Contractor's records. The Contractor shall not be paid for any work performed or costs incurred which reasonably could have been avoided.
  (m) Termination for cause. The Government may terminate this contract, or any part hereof, for cause in the event of any default by the Contractor, or if the Contractor fails to comply with any contract terms and conditions, or fails to provide the Government, upon request, with adequate assurances of future performance. The Government will send a cure notice to the Contractor, unless the reason for the termination is late delivery. In the event of termination for cause, the Government shall not be liable to the Contractor for any amount for supplies or services not accepted, and the Contractor shall be liable to the Government for any and all rights and remedies provided by law. If it is determined that the Government improperly terminated this contract for default, such termination shall be deemed a termination for convenience.
  (n) Title. Unless specified elsewhere in this contract, title to items furnished under this contract shall pass to the Government upon acceptance, regardless of when or where the Government takes physical possession.
  (o) Warranty. The Contractor warrants and implies that the items delivered under this contract are merchantable and fit for use for the particular purpose described in this contract.
  (p) Limitation of liability. Except as otherwise provided by an express warranty, the Contractor will not be liable to the Government for consequential damages resulting from any defect or deficiencies in accepted items.
  (q) Compliance with laws unique to Government contracts. The Contractor agrees to comply with 31 U.S.C. 1352 relating to limitations on the use of appropriated funds to influence certain Federal contracts; 40 U.S.C. chapter 37, Contract Work Hours and Safety Standards; 41 U.S.C. chapter 87, Kickbacks; 49 U.S.C. 40118, Government-financed air transportation; and 41 U.S.C. chapter 21 relating to procurement integrity.
  (r) Order of precedence. Any inconsistencies in this solicitation or contract shall be resolved by giving precedence in the following order:
    (1) The schedule of supplies/services.
    (2) The Disputes, Payments, Invoice, Compliance with Laws Unique to Government Contracts, and Unauthorized Obligations paragraphs of this clause;
    (3) Other contract clauses incorporated in the solicitation or contract;
    (4) Addenda to this solicitation or contract, 
    (5) Solicitation provisions incorporated in the solicitation.
    (6) Other paragraphs of this clause.
    (7) Other documents, exhibits, and attachments; and
    (8) The specification.
  (s) Unauthorized obligations.
    (1) Except as stated in paragraph (s)(2) of this clause, when any supply or service acquired under this contract is subject to any End User License Agreement (EULA), Terms of Service (TOS), or similar legal instrument or agreement, that includes any clause requiring the Government to indemnify the Contractor or any person or entity for damages, costs, fees, or any other loss or liability that would create an Anti-Deficiency Act violation (31 U.S.C. 1341), the following shall govern:
      (i) Any such clause is unenforceable against the Government.
      (ii) Neither the Government nor any Government-authorized end user shall be deemed to have agreed to such clause by virtue of it appearing in the EULA, TOS, or similar legal instrument or agreement. If the EULA, TOS, or similar legal instrument or agreement is invoked through an “I agree” click box or other comparable mechanism (e.g., “click-wrap” or “browse-wrap” agreements), execution does not bind the Government or any Government authorized end user to such clause.
      (iii) Any such clause is deemed to be stricken from the EULA, TOS, or similar legal instrument or agreement.
    (2) Paragraph (s)(1) of this clause does not apply to indemnification by the Government that is expressly authorized by statute and specifically authorized under applicable agency regulations and procedures.
  (t) Comptroller General examination of record. This paragraph applies if this contract was awarded using other than sealed bid procedures and is in excess of the simplified acquisition threshold on the date of award of this contract.
    (1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor’s directly pertinent records involving transactions related to this contract.
    (2) The Contractor shall make available at its offices, at all reasonable times, the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR part 4, longer period required by statute, or periods specified in other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.
    (3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This clause does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.
  (u) Incorporation by reference. The Contractor’s representations and certifications, including those completed electronically via the System for Award Management (SAM), are incorporated by reference into the contract.
(End of Clause)

[bookmark: _Toc256000010][bookmark: _Toc243474817]C.3  52.217-8 OPTION TO EXTEND SERVICES (NOV 1999)
  The Government may require continued performance of any services within the limits and at the rates specified in the contract. These rates may be adjusted only as a result of revisions to prevailing labor rates provided by the Secretary of Labor. The option provision may be exercised more than once, but the total extension of performance hereunder shall not exceed 6 months. The Contracting Officer may exercise the option by written notice to the Contractor within 15 days of contract expiration.
(End of Clause)
[bookmark: _Toc256000011][bookmark: _Toc243474818]C.4  52.217-9 OPTION TO EXTEND THE TERM OF THE CONTRACT (MAR 2000)
  (a) The Government may extend the term of this contract by written notice to the Contractor within 15 days of contract expiration; provided that the Government gives the Contractor a preliminary written notice of its intent to extend at least 15 days before the contract expires. The preliminary notice does not commit the Government to an extension.
  (b) If the Government exercises this option, the extended contract shall be considered to include this option clause.
  (c) The total duration of this contract, including the exercise of any options under this clause, shall not exceed five (5) years.
(End of Clause)

[bookmark: _Toc256000012][bookmark: _Toc243474819]C.5  52.222-90 ADDRESSING DEI DISCRIMINATION BY FEDERAL CONTRACTORS  (DEVIATION APR 2026)
  (a)Definitions. As used in this clause—
  Program participation means membership or participation in, or access or admission to: training, mentoring, or leadership development programs; educational opportunities; clubs; associations; or similar opportunities that are sponsored or established by the contractor or subcontractor.
  Racially discriminatory diversity, equity, and inclusion (DEI) activities means disparate treatment based on race or ethnicity in the recruitment, employment (e.g., hiring, promotions), contracting (e.g., vendor agreements), program participation, or allocation or deployment of an entity's resources.
  (b) In connection with the performance of work under this contract, the Contractor agrees as follows:
    (1) The Contractor will not engage in any racially discriminatory DEI activities;
    (2) The Contractor will furnish all information and reports, including providing access to books, records, and accounts, as required by the Contracting Officer, for purposes of ascertaining compliance with this clause;
    (3) In the event of the Contractor's or a subcontractor's noncompliance with this clause, this contract may be canceled, terminated, or suspended in whole or in part, and the Contractor or subcontractor may be declared ineligible for further Government contracts;
    (4) The Contractor will report any subcontractor's known or reasonably knowable conduct that may violate this clause to the Contracting Officer and take any appropriate remedial actions directed by the Contracting Officer; and
    (5) The Contractor will inform the Contracting Officer if a subcontractor sues the Contractor and the suit puts at issue, in any way, the validity of this clause.
    (6) The Contractor recognizes that compliance with the requirements of this clause are material to the Government's payment decisions for purposes of 31 U.S.C. 3729(b)(4).
  (c) The Contractor must include the substance of this clause, including this paragraph (c), in subcontracts at any tier, including those for commercial products and commercial services, except those where the place of delivery or performance is outside the United States.
(End of Clause)

[bookmark: _Toc256000013][bookmark: _Toc243474820]C.6  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)
  (a) Definitions. As used in this clause—
  American Security Drone Act-covered foreign entity means an entity included on a list that the Federal Acquisition Security Council (FASC) develops and maintains and publishes in the System for Award Management (SAM) at https://www.sam.gov (section 1822 of Pub. L. 118-31, 41 U.S.C. 3901 note prec.).
  Backhaul means intermediate links between the core network, or backbone network, and the small subnetworks at the edge of the network (e.g., connecting cell phones/towers to the core telephone network). Backhaul can be wireless (e.g., microwave) or wired (e.g., fiber optic, coaxial cable, Ethernet).
  Covered application means the social networking service TikTok or any successor application or service developed or provided by ByteDance Limited or an entity owned by ByteDance Limited.
  Covered article, as defined in 41 U.S.C. 4713(k), means:
    (1) Information technology, as defined in 40 U.S.C. 11101, including cloud computing services of all types;
    (2) Telecommunications equipment or telecommunications service, as those terms are defined in section 3 of the Communications Act of 1934 (47 U.S.C. 153);
    (3) The processing of information on a Federal or non-Federal information system, subject to the requirements of the Controlled Unclassified Information program (see 32 CFR part 2002); or
    (4) Hardware, systems, devices, software, or services that include embedded or incidental information technology.
  Covered foreign country means The People’s Republic of China.
  Covered telecommunications equipment or services means—
    (1) Telecommunications equipment produced by Huawei Technologies Company or ZTE Corporation (or any subsidiary or affiliate of such entities);
    (2) For the purpose of public safety, security of Government facilities, physical security surveillance of critical infrastructure, and other national security purposes, video surveillance and telecommunications equipment produced by Hytera Communications Corporation, Hangzhou Hikvision Digital Technology Company, or Dahua Technology Company (or any subsidiary or affiliate of such entities);
    (3) Telecommunications or video surveillance services provided by such entities or using such equipment; or
    (4) Telecommunications or video surveillance equipment or services produced or provided by an entity that the Secretary of Defense, in consultation with the Director of National Intelligence or the Director of the Federal Bureau of Investigation, reasonably believes to be an entity owned or controlled by, or otherwise connected to, the government of a covered foreign country.
  Critical technology means—
    (1) Defense articles or defense services included on the United States Munitions List set forth in the International Traffic in Arms Regulations under subchapter M of chapter I of title 22, Code of Federal Regulations;
    (2) Items included on the Commerce Control List set forth in Supplement No. 1 to part 774 of the Export Administration Regulations under subchapter C of chapter VII of title 15, Code of Federal Regulations, and controlled—
      (i) Pursuant to multilateral regimes, including for reasons relating to national security, chemical and biological weapons proliferation, nuclear nonproliferation, or missile technology; or
      (ii) For reasons relating to regional stability or surreptitious listening;
    (3) Specially designed and prepared nuclear equipment, parts and components, materials, software, and technology covered by part 810 of title 10, Code of Federal Regulations (relating to assistance to foreign atomic energy activities);
    (4) Nuclear facilities, equipment, and material covered by part 110 of title 10, Code of Federal Regulations (relating to export and import of nuclear equipment and material);
    (5) Select agents and toxins covered by part 331 of title 7, Code of Federal Regulations, part 121 of title 9 of such Code, or part 73 of title 42 of such Code; or
    (6) Emerging and foundational technologies controlled pursuant to section 1758 of the Export Control Reform Act of 2018 (50 U.S.C. 4817).
  FASC-prohibited unmanned aircraft system means an unmanned aircraft system manufactured or assembled by an American Security Drone Act—covered foreign entity.
  FASCSA order means any of the following orders issued under the Federal Acquisition Supply Chain Security Act (FASCSA) requiring removing covered articles from executive agency information systems or excluding one or more named sources or named covered articles from executive agency procurement actions, as described in 41 CFR 201-1.303(d) and (e):
    (1) The Secretary of Homeland Security may issue FASCSA orders that apply to civilian agencies, to the extent not covered by paragraph (2) or (3) of this definition. This type of FASCSA order may be referred to as a Department of Homeland Security (DHS) FASCSA order.
    (2) The Secretary of Defense may issue FASCSA orders that apply to the Department of Defense (DoD) and national security systems other than sensitive compartmented information systems. This type of FASCSA order may be referred to as a DoD FASCSA order.
    (3) The Director of National Intelligence (DNI) may issue FASCSA orders that apply to the intelligence community and sensitive compartmented information systems, to the extent not covered by paragraph (2) of this definition. This type of FASCSA order may be referred to as a DNI FASCSA order.
  Information technology, as defined in 40 U.S.C. 11101(6)—
    (1) Means any equipment or interconnected system or subsystem of equipment, used in the automatic acquisition, storage, analysis, evaluation, manipulation, management, movement, control, display, switching, interchange, transmission, or reception of data or information by the executive agency, if the equipment is used by the executive agency directly or is used by a contractor under a contract with the executive agency that requires the use—
      (i) Of that equipment; or
      (ii) Of that equipment to a significant extent in the performance of a service or the furnishing of a product;
    (2) Includes computers, ancillary equipment (including imaging peripherals, input, output, and storage devices necessary for security and surveillance), peripheral equipment designed to be controlled by the central processing unit of a computer, software, firmware and similar procedures, services (including support services), and related resources; but
    (3) Does not include any equipment acquired by a Federal contractor incidental to a Federal contract.
  Intelligence community, as defined by 50 U.S.C. 3003(4), means the following—
    (1) The Office of the Director of National Intelligence;
    (2) The Central Intelligence Agency;
    (3) The National Security Agency;
    (4) The Defense Intelligence Agency;
    (5) The National Geospatial-Intelligence Agency;
    (6) The National Reconnaissance Office;
    (7) Other offices within the Department of Defense for the collection of specialized national intelligence through reconnaissance programs;
    (8) The intelligence elements of the Army, the Navy, the Air Force, the Marine Corps, the Coast Guard, the Federal Bureau of Investigation, the Drug Enforcement Administration, and the Department of Energy;
    (9) The Bureau of Intelligence and Research of the Department of State;
    (10) The Office of Intelligence and Analysis of the Department of the Treasury;
    (11) The Office of Intelligence and Analysis of the Department of Homeland Security; or
    (12) Such other elements of any department or agency as may be designated by the President, or designated jointly by the Director of National Intelligence and the head of the department or agency concerned, as an element of the intelligence community.
  Interconnection arrangement means arrangements governing the physical connection of two or more networks to allow the use of another’s network to hand off traffic where it is ultimately delivered (e.g., connecting a customer of telephone provider A to a customer of telephone company B) or sharing data and other information resources.
  Kaspersky Lab-covered article means any hardware, software, or service that—
    (1) Is developed or provided by a Kaspersky Lab-covered entity;
    (2) Includes any hardware, software, or service developed or provided in whole or in part by a Kaspersky Lab-covered entity; or
    (3) Contains components using any hardware or software developed in whole or in part by a Kaspersky Lab-covered entity.
  Kaspersky Lab-covered entity means—
    (1) Kaspersky Lab;
    (2) Any successor entity to Kaspersky Lab, including any change in name, e.g., “Kaspersky”;
    (3) Any entity that controls, is controlled by, or is under common control with Kaspersky Lab; or
    (4) Any entity of which Kaspersky Lab has a majority ownership.
  National security system, as defined in 44 U.S.C. 3552, means any information system (including any telecommunications system) used or operated by an agency or by a contractor of an agency, or other organization on behalf of an agency—
    (1) The function, operation, or use of which involves intelligence activities; involves cryptologic activities related to national security; involves command and control of military forces; involves equipment that is an integral part of a weapon or weapons system; or is critical to the direct fulfillment of military or intelligence missions, but does not include a system that is to be used for routine administrative and business applications (including payroll, finance, logistics, and personnel management applications); or
    (2) Is protected at all times by procedures established for information that have been specifically authorized under criteria established by an Executive order or an Act of Congress to be kept classified in the interest of national defense or foreign policy.
  Roaming means cellular communications services (e.g., voice, video, data) received from a visited network when unable to connect to the facilities of the home network either because signal coverage is too weak or because traffic is too high.
  Sensitive compartmented information means classified information concerning or derived from intelligence sources, methods, or analytical processes, which is required to be handled within formal access control systems established by the Director of National Intelligence.
  Sensitive compartmented information system means a national security system authorized to process or store sensitive compartmented information.
  Source means a non-Federal supplier, or potential supplier, of products or services, at any tier.
  Subsidiary means an entity in which more than 50 percent of the entity is owned directly by a parent corporation or through another subsidiary of a parent corporation.
  Substantial or essential component means any component necessary for the proper function or performance of a piece of equipment, system, or service.
  Unmanned aircraft means an aircraft that is operated without the possibility of direct human intervention from within or on the aircraft (49 U.S.C. 44801(11)).
  Unmanned aircraft system means an unmanned aircraft and associated elements (including communication links and the components that control the unmanned aircraft) that are required for the operator to operate safely and efficiently in the national airspace system (49 U.S.C. 44801(12)).
  (b) Prohibitions on providing or using specific products or services in performance of contract. Unless a waiver or exception applies, the Contractor is prohibited from providing any products or services to the Government or using in the performance of the contract any of the following:
    (1) A covered application on any information technology owned or managed by the Government, or on any information technology used or provided by the Contractor under this contract, including equipment provided by the Contractor’s employees (section 102 of Division R of the Consolidated Appropriations Act, 2023 (Pub. L. 117-328));
    (2) A Kaspersky Lab-covered article (Section 1634 of Division A of the National Defense Authorization Act for Fiscal Year 2018 (Pub. L. 115-91));
    (3) Covered telecommunications equipment or services used as a substantial or essential component of any system, or as critical technology as part of any system (paragraphs (a)(1)(A) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)). This does not prohibit contractors from providing—
      (i) A service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or
      (ii) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.
  (c) Prohibition on unmanned aircraft systems manufactured or assembled by American Security Drone Act—covered foreign entities.
    (1) Prohibition. The Contractor is prohibited from—
      (i) Delivering any FASC-prohibited unmanned aircraft system, which includes unmanned aircraft (i.e., drones) and associated elements (sections 1823 and 1826 of American Security Drone Act of 2023, within the National Defense Authorization Act for Fiscal Year 2024, Pub. L. 118-31, Div. A, Title XVIII, Subtitle B, 41 U.S.C. 3901 note prec.);
      (ii) On or after December 22, 2025, operating a FASC-prohibited unmanned aircraft system in the performance of the contract (section 1824 of Pub. L. 118-31); and
      (iii) On or after December 22, 2025, using Federal funds to procure or operate a FASC-prohibited unmanned aircraft system (section 1825 of Pub. L. 118-31).
    (2) Procedures. The Contractor shall search SAM for the FASC-maintained list of American Security Drone Act—covered foreign entities before proposing, or using in performance of the contract, any unmanned aircraft system. Also, the Contractor shall ensure any effort or expenditure associated with a FASC-prohibited unmanned aircraft system is consistent with a corresponding exemption, exception, or waiver determination expressly stated in the contract.
    (3) Exemptions, exceptions, and waivers. The prohibitions in paragraph (c) of this clause do not apply where the agency has determined an exemption, exception, or waiver applies, and the contract indicates that such a determination has been made. See sections 1823 through 1825 and 1832 of Public Law 118-31 for statutory requirements pertaining to exemptions, exceptions, and waivers.
  (d) Prohibition on using or providing specific products or services or conducting certain transactions regardless of connection to contract.
    (1) Certain telecommunications and video surveillance equipment, systems, or services.
      (i) Unless an applicable waiver has been issued by the Government, the Contractor cannot use any equipment, systems, or services that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system (paragraph (a)(1)(B) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)).
      (ii) This prohibition applies to using covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. This does not prohibit the contractor from using—
        (A) A service that connects to the facilities of a third party, such as backhaul, roaming, or interconnection arrangements; or
        (B) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.
    (2) Office of Foreign Assets Control Restrictions.
      (i) Except as authorized by the Office of Foreign Assets Control (OFAC) in the Department of the Treasury, the Contractor shall not acquire, for use in the performance of this contract, any supplies or services if any proclamation, Executive order, or statute administered by OFAC, or if OFAC’s implementing regulations at 31 CFR chapter V, would prohibit such a transaction by a person subject to the jurisdiction of the United States.
      (ii) Except as authorized by OFAC, most transactions involving Cuba, Iran, and Sudan are prohibited, as are most imports from Burma or North Korea, into the United States or its outlying areas.
        (A) For lists of entities and individuals subject to economic sanctions, see OFAC’s List of Specially Designated Nationals and Blocked Persons at https://home.treasury.gov/policy-issues/financial-sanctions/specially-designated-nationals-and-blocked-persons-list-sdn-human-readable-lists.
        (B) For more information about these restrictions, as well as updates, see OFAC’s regulations at 31 CFR chapter V and at https://home.treasury.gov/policy-issues/office-of-foreign-assets-control-sanctions-programs-and-information.
        (C) To conduct electronic screens of potential parties to regulated transactions, see the consolidated screening list at https://www.trade.gov/consolidated-screening-list, which consolidates multiple export screening lists of the Departments of Commerce, State, and the Treasury.
    (3) Sudan prohibition. The Contractor is prohibited from conducting any restricted business operations in Sudan in accordance with Accountability and Divestment Act of 2007 (Pub. L. 110-174).
    (4) Iran prohibitions.
      (i) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, the contractor shall not engage in certain activities or transactions relating to Iran (section 6(b)(1)(A) of Iran Sanctions Act (50 U.S.C. 1701 note).
      (ii) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, contractor shall not export certain sensitive technology to Iran, as determined by the President, and has an active exclusion in SAM (22 U.S.C. 8515).
      (iii) The prohibition in paragraphs (d)(4)(i) and (d)(4)(ii) do not apply if the acquisition is subject to trade agreements and the offeror certifies that all the offered products are designated country end products or designated country construction material (see part 25).
      (iv) Unless an exception applies or the Government grants a waiver, contractors are prohibited from knowingly engaging in any significant transaction (i.e., over $15,000) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked according to the International Emergency Economic Powers Act (section 6(b)(1)(B) of Iran Sanctions Act (50 U.S.C. 1701 note)).
  (e) Governmentwide exclusion and removal orders.
    (1) Unless the Government has issued an applicable waiver, contractors shall not provide or use as part of the performance of the contract any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order as follows:
      (i) For solicitations and contracts awarded by a Department of Defense contracting office, DoD FASCSA orders apply.
      (ii) For all other solicitations and contracts, DHS FASCSA orders apply.
    (2) The Contractor shall search for the phrase “FASCSA order” in the System for Award Management (SAM) at https://www.sam.gov to locate applicable FASCSA orders.
    (3) The Government may identify in the solicitation other FASCSA orders that are not in SAM, which are effective and apply to the solicitation and resulting contract.
    (4) A FASCSA order issued after the date of solicitation applies to this contract only if added by an amendment to the solicitation or modification to the contract (see FAR 40.204-1(c)).
  (f)Reasonable inquiry. The contractor shall conduct a reasonable inquiry to determine if there are any prohibited products or services. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.
  (g) Removal of prohibited products and services. For Federal Supply Schedules, Governmentwide acquisition contracts, multi-agency contracts or any other procurement instrument intended for use by multiple agencies, upon notification from the Contracting Officer, during the performance of the contract, the Contractor shall promptly make any necessary changes or modifications to remove any product or service produced or provided by a source that this clause prohibits.
  (h) General report.
    (1) If the Contractor identifies or is notified by any source, (including a subcontractor at any tier), that any product or service provided or used (or to be provided or used) during contract performance does not comply with any prohibition in this clause, then the Contractor shall report the following information, or as much information is known, in writing to the contracting office as identified in paragraph (h)(2) within 72 hours:
      (i) Contract number and order number, if applicable;
      (ii) The specific prohibition the product or service is not complying with;
      (iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);
      (iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));
      (v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;
      (vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the contractor would like the Government to consider a waiver, and asks for such a waiver);
      (vii) Whether alternative products or services are available that would comply with the prohibition;
      (viii) If the product or service is related to item maintenance, include the following information on the item being maintained:
        (A) Brand;
        (B) Model number, OEM number, manufacturer part number, or wholesaler number; and
        (C) Item description, as applicable.
      (ix) Any readily available information about mitigation actions implemented or recommended.
    (2) If a report must be submitted to a contracting office, the Contractor shall submit the report as follows:
      (i) If a Department of Defense contracting office, the Contractor shall report to the website at https://dibnet.dod.mil.
      (ii) For all other contracting offices, the Contractor shall report to the Contracting Officer.
      (iii) For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order.
    (3) If the report provided does not contain any of the information required by paragraph (h)(1) of this clause, and the contractor later discovers new information that is required by paragraph (h)(1) of this clause, then the contractor shall submit a subsequent report within 72 hours of discovering the new information.
    (4) The contractor shall also report the information in paragraph (h)(1) if the contractor wishes to ask for a waiver of the requirements of a new FASCSA order being applied through modification.
  (i) New FASCSA orders report.
    (1) During contract performance, the Contractor shall review SAM at least once every three months, or as advised by the Contracting Officer, to check for covered articles subject to FASCSA order(s), or for products or services produced by a source subject to FASCSA order(s) not currently identified under paragraph (e) of this clause.
    (2) If the Contractor identifies a new FASCSA order(s) that could impact their supply chain, then the Contractor shall conduct a reasonable inquiry to identify whether a covered article or product or service produced or provided by a source subject to the FASCSA order(s) was provided to the Government or used during contract performance. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.
    (3) The Contractor shall submit a report to the contracting office identified in paragraph (h)(2) of this clause if the Contractor identifies, including through any notification by a subcontractor at any tier, that a covered article or product or service produced or provided by a source was provided to the Government or used during contract performance and is subject to a FASCSA order(s). For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order. The Contractor shall report the following information within 72 hours for each covered article or each product or service produced or provided by a source, where the covered article or source is subject to a FASCSA order:
      (i) Contract number and order number, if applicable;
      (ii) Name of the covered article or source subject to a FASCSA order;
      (iii) The specific FASCSA order the product or service does not comply with;
      (iv) The elements of (h)(1)(iii) through (ix) of this clause.
  (j) Subcontracts. The Contractor shall insert the substance of this clause, including this paragraph (j) but excluding subparagraphs (d)(1) and (i)(1), in all subcontracts and other contractual instruments, including subcontracts for acquiring commercial products or commercial services.
(End of Provision)
	(End of Addendum to 52.212-4)
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[bookmark: _Toc256000015][bookmark: _Toc243474822]SECTION E - SOLICITATION PROVISIONS
ADDENDUM to FAR 52.212-1 INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES
Provisions that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The following provisions are incorporated into 52.212-1 as an addendum to this solicitation:
1.0 OFFER SUBMISSION
[bookmark: _Hlk101854738]Offers shall only be submitted via email to Jeanne Ortiz at jeanne.ortiz@va.gov by the date and time identified on the SF1449, block 8. 
· The RFQ number MUST be included in the email subject line.
· [bookmark: _Hlk47524322]There will be a one-time question and answer period. All questions shall be submitted via email to Jeanne Ortiz at jeanne.ortiz@va.gov no later than Wednesday, October 28, 2026, by 10:00 AM Eastern Time (ET). 

Section A – Offer Form (Standard Form 1449) 
Signed and dated. Unique Entity Identification (UEI) number shall be entered in the block with the Offerors’ name and address. 

Section B – Pricing 
Pricing shall be submitted as requested, in strict accordance with the Price Schedule, with no alteration to the Price Schedule whatsoever. Total price will be evaluated by the Government. Proposed price should reflect a clear understanding of the requirements and is consistent with the various elements of the offer.  

Section C – Offerors Representations and Certifications
A completed copy of the representations and certifications at FAR 52.212-3 (see FAR 52.212-3(b) for those representations and certifications that the offeror shall complete electronically). An offeror shall complete only paragraph (b) of this provision if the offeror has completed the annual representations and certifications electronically at www.sam.gov/portal/public/SAM/. All Offerors shall be registered and current in the System for Award Management (SAM) database at time of offer.

Section D – Technical Approach 
Offerors shall submit a quote that includes a technical approach addressing all aspects of the Statement of Work (SOW). All required certifications shall be submitted as part of the offer. The offeror shall identify any subcontractors proposed under this solicitation. All technical elements applicable to the utilization of subcontractors must be addressed in the technical quote and detail provided.  

The technical approach should be as detailed as needed to fully explain proposed methods and rationale and should reflect a clear understanding of the work to be undertaken. The technical quote shall state how the project is to be organized, staffed and managed.

The Technical Volume (Section D) shall not exceed ten (10) pages in length (minimum 12-point font and no less than ½ inch margins). Page limitation includes drawings, charts, images, etc., and excludes section dividers, table of contents and glossary of terms. If more than 10 pages are submitted (not counting excluded pages), only the first 10 pages will be considered. 

Section E – Past Performance and Past Experience
Identify all federal, state, and local government contracts as well as any private/commercial contracts of similar scope, size, complexity that are ongoing or have been completed within the last three years. List the following information for each contract:

· Company name and address
· Description of services performed
· Name, phone number and email address of responsible individuals who have first-hand knowledge of performance relative to similar type of services
· Contract number (this is absolutely required)
· Dates of contract performance
· Contract type (e.g. fixed-price, cost reimbursable) and total contract value

Failure to submit a complete offer may result in an unacceptable determination.

2.0 AWARD BASIS
Note that FAR Part 12 Acquisition of Commercial Products and Commercial Services, and specifically FAR 12.201-1 Simplified Procedures will be used. The Government intends to award a firm fixed-priced contract to the responsible offeror whose offer, conforming to the requirements in this request for quote, will be most advantageous to the Government, technical capability and other factors considered. An award based on FAR 12.204 will be made based upon the following factors:
 
· Technical Capability
· Price
· Past Performance

If any offer has a section that is determined unacceptable, the offer shall be considered unacceptable.

For evaluation purposes, Government will evaluate offers for award purposes by adding the total price for all options to the total price for the basic requirement. This includes options under FAR 52.217-8, Option to Extend Services, which applies to this solicitation. Evaluation of options under FAR 52.217-8 will be accomplished by adding six months of the Offeror's price for the last potential period of performance under this contract to the Offeror's total price. For example, if the contract includes option periods that are exercisable under FAR 52.217-9, the Offeror's total price for the purpose of evaluation will include the base period, all option periods, and an additional six months of the last option period. Offerors must price only the base and option periods specified in the contract line item numbers (CLINs) and shall not submit a price for the potential six-month extension of services under FAR 52.217-8. The Government reserves the right to exercise the option under FAR 52.217-8 before the end of any of the contractor's performance periods. The Government may determine that an offer is unacceptable if the prices on subsequent years are significantly unbalanced. Evaluation of options shall not obligate the Government to exercise the option(s).

VENDORS PLEASE NOTE: AS THIS PROCUREMENT IS BEING CONDUCTED UNDER FAR PART 12, POST AWARD DEBRIEFINGS IN ACCORDANCE WITH FAR 15.506 WILL NOT BE OFFERED OR CONDUCTED.

[bookmark: _Toc256000016][bookmark: _Toc243474823]E.1  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)
  This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this/these address(es):
  https://www.acquisition.gov/browse/index/far
  https://www.va.gov/oal/library/vaar/
  
	FAR
	Title
	Date

	52.212-1
	INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (DEVIATION)
	OCT 2025

	52.203-18
	PROHIBITION ON CONTRACTING WITH ENTITIES THAT REQUIRE CERTAIN INTERNAL CONFIDENTIALITY AGREEMENTS OR STATEMENTS—REPRESENTATION
	JAN 2017

	52.204-7
	SYSTEM FOR AWARD MANAGEMENT—REGISTRATION (DEVIATION)
	NOV 2025

	52.222-48
	EXEMPTION FROM APPLICATION OF THE SERVICE CONTRACT LABOR STANDARDS TO CONTRACTS FOR MAINTENANCE, CALIBRATION, OR REPAIR OF CERTAIN EQUIPMENT— CERTIFICATION (DEVIATION)
	NOV 2025

	852.239-75
	INFORMATION AND COMMUNICATION TECHNOLOGY ACCESSIBILITY NOTICE
	FEB 2023


(End of Provision)
(End of Addendum to 52.212-1)

[bookmark: _Toc256000017][bookmark: _Toc243474824]E.2  52.212-2  EVALUATION - COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION)
  (a) Evaluation factors. The Government will award a contract resulting from this solicitation to the responsible Offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered. The following factors will be used to evaluate offers:
   Technical Capability
   Price
   Past Performance
   SEE ADDENDUM ATTACHED
   
  (b) Options (if applicable). The Government will evaluate offers for award purposes by adding the total price for all options to the total price for the basic requirement. The Government may determine that an offer is unacceptable if the option prices are significantly unbalanced. The evaluation of options does not obligate the Government to exercise the option(s).
  (c) Notice of award. A written notice of award or acceptance of an offer furnished to the successful Offeror within the time for acceptance specified in the offer, shall result in a binding contract without further action by either party. Before the offer's specified expiration time, the Government may accept an offer (or part of an offer), whether or not there are negotiations after its receipt, unless a written notice of withdrawal is received before award.
(End of Provision)
[bookmark: _Toc256000018][bookmark: _Toc243474825]E.3  52.216-1 TYPE OF CONTRACT (NOV 2025) (DEVIATION)
  The Government contemplates award of a Firm-Fixed-Price contract resulting from this solicitation.
(End of Provision)

Page 1 of 
Page 1 of 

Page 1 of 
Page 1 of 

Page 38 of 38
